Prepared By: Joshua Alford Analytical Laboratory Manager Prepared For: Canevolve Analytical Data Summary

Summary of results report for the analysis and quantitation of Cannabidiol in CBD E-liquid by HPLC/UV

UK Flavour Unit B3 Bridlington Business Park Bessingby Industrial Estate Bridlington YO16 4SJ

# Summary Report – Canna Drip - Grape Soda 20mg/mL CBD E-liquid

## Summary A summary of results for the analysis of Canna Drip - Grape Soda 20mg/mL CBD infused E-liquid is included in Table 1 below. The results confirm that the Cannabidiol content of Canna Drip - Grape Soda 20mg/mL CBD infused E-liquid is 21.18mg/mL. Table 1: Cannabidiol Results Test; Specification mg/mL; Result mg/mL. CBD; 18.0-22.0; 21.18. ## Quantification The quantification of CBD was performed using in house HPLC method LC02. Experimental Chromatography is shown in Figure 1 Figure 1: Experimental Chromatography