EUPHORIA TRADE s.r.o.

Klimentska 1216/46, 110 00 Prague, Czech Republic. www.cannabisfood.cz / info@euphoria.trade / +420 266 793 203

EUPHORIA CBD Oil 10%

# PRODUCT SPECIFICATION

Ingredients: Hemp extract containing CBD, hemp oil.

Storage Conditions: in a dry and cool place.

Dosage: recommended daily intake 2x5 drops per day. Maximal daily intake of 15 drops.

Content: 10ml / 1000 mg CBD. Produced in the Netherlands for EUPHORIA TRADE s.r.o.

# ANALYSIS REPORT

Procedure:

Identification and quantification of cannabinoids has been performed via HPLC analysis according to the

producer’s analytical methods.

Samples are analysed in duplicate.

The data is reported when the duplicate analysis showed that:

- the 6 standards used in sequence have RSD% < 2%

- the main component has RSD% < 5%

- other components to quantified have RSD% < 10%

| Product information: |  |  |
| --- | --- | --- |
| Sample: 10% CBD Oil. | Analysis date: 16.04.2018 | Batch nr.: 18M0007 Expiration date: March 2019 |
| Results: |  |  |
| Cannabinoids |  | Results |
| CBD |  | 9,97 % |
| Δ⁹ - THC Δ8 - THC |  | <0,19 % 0,02 % |
| THCA |  | n.d. |
| CBDA |  | 0,07 % |
| CBG |  | n.d. |
| CBGA |  | <0,01 % |
| CBN |  | 0,02 % |
| CBC |  | 0,12 % |
| THCV |  | n.d. |
| n.d.: not detected. |  |  |

Approved by: Sardor Varisov In Prague, 23.04.2018